## Slide 1
SUPERVISED BY
Dr. N.Gomathi/Professor
DEPARTMENT OF COMPUTER SCIENCE & ENGINEERING
SCHOOL OF COMPUTING
WINTER SEMESTER 2024-2025
10214CS701- MAJOR PROJECT INHOUSE
SEMESTER END PROJECT VIVA VOCE EXAMINATIONS
PREVENTION OF CARDIOMETABOLIC RISK USING SMART GAS ANALYZER
RESENTED BY
1. P.REKHA SHANMUKHI(VTU19523)(21UECS0454)
2. S.GOPINADH(VTU19522)(21UECS0560)
3. P.NEERAJA(VTU19613)(21UECS0483)

## Slide 2
CONTENT
Introduction
Objective of the Project
Literature Review / Existing System
Literature Review Summary
Proposed System
Methodology / Architecture
Algorithm with Description
Implementation
Testing & Validation
Results & Analysis
Sustainable Development Goals(SDG)
Demonstration/Prototype Showcase
Challenges Encountered & Solutions
Advantages
Limitations & Future Scope
Conclusion
YouTube Demonstration Video URL & GitHub Link
Placement offer letter /Internship offer letter/Completion certificate
References

## Slide 3
Introduction
Brief intro to the project topic
The Smart Gas Analyzer (SGA) project aims to offer a non-invasive, real-time solution for monitoring metabolic health by analyzing exhaled breath. Using advanced sensors and machine learning algorithms, the SGA detects biomarkers linked to fat metabolism, insulin resistance, and other indicators of cardiometabolic risks such as obesity, diabetes, and cardiovascular disease (CVD). It provides continuous, accessible, and patient-friendly health monitoring at home or in clinical settings.
Motivation behind choosing the topic
Traditional methods for diagnosing cardiometabolic conditions—like blood tests and physical exams—are often invasive, expensive, and inconvenient. These methods hinder regular screening and early diagnosis. The idea of using exhaled breath as a diagnostic tool fascinated us because it promises a simple, quick, and comfortable alternative for both patients and healthcare professionals. With growing global concerns over lifestyle diseases, we were motivated to develop a cost-effective and scalable preventive healthcare solution.
Problem Statement
There is a lack of non-invasive, reliable, and accessible methods to detect early cardiometabolic dysfunctions, leading to delayed diagnosis and treatment. The Smart Gas Analyzer aims to address this by using exhaled breath analysis and machine learning to identify early biomarkers of metabolic health risks.

## Slide 4
Objective of the Project
The objective of this project is to prevent cardiometabolic risk by analyzing exhaled breath samples using a smart gas analyzer. Cardiometabolic disorders, including hypertension, diabetes, and cardiovascular diseases, are often linked to metabolic dysfunctions that can be detected through biomarkers in exhaled gases. By collecting and analyzing breath samples for CO, CH, and VOCs, this system aims to identify early signs of metabolic imbalances. The project will integrate ML models to process the collected data, enabling accurate and predictive health assessments based on breath analysis.
The breath samples will be analyzed using a smart gas analyzer, and the resultswill be processed through advanced ML algorithms. The output will be displayed in software, providing insights into metabolic health trends. By leveraging sensor technology and predictive analytics, this project aims to enhance early detection of cardiometabolic risks, promoting timely interventions and improved health outcomes.

## Slide 5
Literature Review / Existing System
Reference# (Year) | Problem Domain | Input Data | Feature Extraction | Classification | Result
[1] Rodriguez et al. | Real-time health analytics with AI & cloud computing for cardiometabolic risk tracking | Exhaled breath data | AI-driven analytics | Continuous monitoring system | Demonstrates feasibility for early detection and continuous monitoring via cloud-AI integration
[2] Germanese et al. | Low-cost breath analysis for self-monitoring | Exhaled breath | Biomarker detection | Breath analysis system | Shows feasibility of using breath biomarkers to monitor cardiometabolic risks
[3] Musleh et al. | Predicting cardiometabolic risk in students | Health records of students | ML algorithm training | Various ML classifiers | Demonstrates early intervention potential with ML
[4] Patel et al. | Wearable tech in health tracking | Sensor data from wearables | Biosensing capabilities | Wearable-integrated gas sensors | Real-time capture of metabolic data using gas sensors in wearables
[5] Singh & Bose | DL in healthcare risk prediction | Breath data | Neural networks (DL) | Deep learning models | Neural networks successfully detect early signs of cardiometabolic issues

## Slide 6
Reference# (Year) | Problem Domain | Input Data | Feature Extraction | Classification | Result
[6] Williams & Brown | AI-driven predictive analytics for chronic disease prevention | Breath data | AI-based predictive features | Predictive analytics | Supports effectiveness of AI in interpreting gas analyzer outputs
[7] Nakamura et al. | AI-assisted breath analysis for respiratory diseases | Exhaled breath | AI-based models | Breath diagnostics | Demonstrates viability of breath diagnostics for metabolic disorder detection
[8] Wang & Zhou | Big data analytics for CVD prediction | Sensor data | Big data methods | Predictive models | Highlights power of large-scale sensor data for early detection
[9] Garcia & Thompson | Smart devices for chronic disease prevention | Continuous sensor data | Integrated sensors | Smart health devices | Reinforces gas analyzer relevance in long-term health management
[10] Martinelli et al. | Modeling using sensor measurements | Sensor data from breath | Modeling framework | Risk assessment framework | Validates clinical relevance of breath-based risk data

## Slide 7
Reference# (Year) | Problem Domain | Input Data | Feature Extraction | Classification | Result
[11] Sharma & Verma | Edge computing in real-time healthcare | Sensor data | Edge computing framework | Real-time processing | Supports low-latency deployment of smart gas analyzers
[12] Gupta & Roy | IoT-enabled healthcare systems | IoT-based sensor data | IoT interoperability | Health system integration | Highlights importance of integrating analyzers with health infra
[13] Kumar et al. | Role of sensors in non-invasive monitoring | Real-time sensor data | Sensor signal processing | Continuous monitoring | Reinforces gas sensor effectiveness in early cardiometabolic detection
[14] Chen & Wu | Exhaled breath for disease detection | VOCs in breath | VOC profiling | Disease detection | Underlines reliability of VOC profiling for metabolic diagnosis
[15] Li & Wong | 5G-enabled wearable monitoring | Wearable sensor data | Mobile + gas sensor integration | Remote monitoring system | Emphasizes synergy of gas analyzers with 5G for health tracking

## Slide 8
Proposed System
Estimating the potential advantages of the smart gas ana- lyzer for assessing cardiometabolic problems suggests impor- tant possibilities. Avoiding further blood sample collection to monitor certain metabolic health markers that can be detected by the analyzer’s breath captures biomarker detection in the breath so that it is nottotally invasive. This enables prompt diagnoses and intervention for heart disease, diabetes, obesity, and other risks.
In addition, these assessments could be done onsite because of the portability of the system which enhances patient satisfaction and promotes better health. Furthermore, the efficiency and precision of healthcare diagnosis in various facilities will be enhanced as well as eliminating service duplication which is important for managing functional costs within chronic disease control and improving health outcomes

## Slide 9
Methodology / Architecture
System Architecture

## Slide 10
Data Flow Diagram
Methodology / Architecture

## Slide 11
Algorithm with Description
Algorithm 1 (Cardiometabolic Risk Prediction using Smart Gas Analyzer)
mean risk score = 0 count = 0
SSS = Sensor data collected from breath samples FFF = Extracted feature vectors from gas concentrations MMM = Pretrained machine learning model
For (N), where N = total number of samples { Preprocessing = Normalize gas concentration levels Feature Extraction = Identify key biomarkers Risk Prediction = Compute score RiR_iRi​ using M(Fi)M(F_i)M(Fi​) Categorization = Assign risk level: {Low, Moderate, High} count += 1 }
ccc = number of high-risk predictions if (ccc == total number of samples) { risk level = High } else { risk level = c/Nc/Nc/N }
mean risk score = ∑i=1NRi/N\sum_{i=1}^{N} R_i / N∑i=1N​Ri​/N

## Slide 12
Algorithm with Description (Contd..)
Mathematical Representation with Description
1. Breath Gas Analysis Model
The smart gas analyzer collects breath samples and measures the concentration of multiple gas biomarkers:
S={G1,G2,G3,...,Gn}
S={G1​,G2​,G3​,...,Gn​}
where GiGi​ represents the concentration of the ii-th gas component (e.g., CO₂, NH₃, acetone) in ppm (parts per million).
2. Feature Extraction & Normalization
The collected gas concentrations are normalized to reduce environmental and individual variability:
Fi=Gi−μGiσGi
Fi​=σGi​​Gi​−μGi​​​
where:
μGiμGi​​ is the mean concentration of gas GiGi​ across the population,
σGiσGi​​ is the standard deviation of GiGi​,
FiFi​ is the normalized feature value.

## Slide 13
3. Risk Score Calculation
The system uses a weighted sum of extracted features to calculate a risk score RR:
R=w1F1+w2F2+⋯+wnFn+b
R=w1​F1​+w2​F2​+⋯+wn​Fn​+b
where:
wiwi​ are learned model weights for each biomarker,
bb is the bias term,
RR represents the individual's cardiometabolic risk score.
4. Risk Classification
Based on the computed risk score RR, individuals are categorized into different risk levels:
where T1T1​ and T2T2​ are predefined threshold values determined through clinical studies.
5. Population-Level Risk Assessment
The average cardiometabolic risk across a population of NN individuals is given by:
Rˉ=1N∑i=1NRi
Rˉ=N1​i=1∑N​Ri​
where RiRi​ is the individual risk score of the ii-th subject.

## Slide 14
Implementation
Lorem ipsum dolor sit amet, consectetur adipiscing elit. Nullam laoreet risus fringilla, egestas elit a, consequat augue. Phasellus sollicitudin felis mi, quis egestas ex ornare sed.
Lorem ipsum dolor sit amet, consectetur adipiscing elit. Nullam laoreet risus fringilla, egestas elit a, consequat augue. Phasellus sollicitudin felis mi, quis egestas ex ornare sed.
Data Acquisition:
Input: Breath samples analyzed by the smart gas analyzer.
Process: Sensors detect volatile organic compounds (VOCs) related to cardiometabolic conditions.
Output: Raw sensor data with gas concentration levels.
Data Preprocessing:
Input: Raw sensor readings.
Process:
Apply signal filtering techniques to remove noise.
Normalize sensor values for consistency.
Output: Cleaned and structured sensor data.
Feature Extraction:
Input: Processed sensor data.
Process:
Identify key biomarkers (specific VOCs).
Extract statistical and pattern-based features.
Output: Feature set for predictive modeling.

## Slide 15
Results & Analysis
Lorem ipsum dolor sit amet, consectetur adipiscing elit. Nullam laoreet risus fringilla, egestas elit a, consequat augue. Phasellus sollicitudin felis mi, quis egestas ex ornare sed.
Lorem ipsum dolor sit amet, consectetur adipiscing elit. Nullam laoreet risus fringilla, egestas elit a, consequat augue. Phasellus sollicitudin felis mi, quis egestas ex ornare sed.
Performance Metrics:
The model was tested using various gas levels (CO2, NO2, VOCs, Temperature) to predict cardiometabolic risk. The key evaluation metrics are
Qualitative Analysis:
Trends Observed: Higher CO2, NO2 levels increase Asthma and Bronchitis risk; VOCs link to COPD. Temperature also affects susceptibility.
Unexpected Findings: COPD was sometimes misclassified as Bronchitis due to similar gas exposure. The model showed a slight COPD prediction bias.
Limitations: A small dataset limits real-world accuracy. The model excludes humidity, other pollutants, and medical history.
Model Accuracy:
The 95.2% accuracy suggests that the Random Forest Classifier is highly effective in predicting cardiometabolic risks based on air quality data. This indicates that The model can assist healthcare professionals in early risk detection. Smart gas analyzers can provide real-time air quality monitoring to prevent exposure-related health issues.Future improvements could incorporate additional parameters (e.g., Ozone levels) and clinical patient data to enhance prediction accuracy.

## Slide 16
Results & Analysis (Sample-Must be included according to your Project)
Target accuracy statistics for cardiometabolic risk prediction using a smart gas analyzer.
Method Accuracy
Random Forest 82.1
Logistic Regression 78.5
SVM 80.7
XGBoost 84.3
Ours 86.9

## Slide 17
Results & Analysis (Sample-Must be included according to your Project)
Model Performance Metrics: Accuracy, Precision, Recall, and F1-score
Gas Levels vs. Disease Risk: Demonstrating how gas exposure correlates with different respiratory diseases.

## Slide 18
Concept In Business
Demonstration/Prototype Showcase
Option A - Web Interface/Software-Focused Projects
Visual Demonstration:

## Slide 19
Demonstration/Prototype Showcase
Functionality Highlight
Key Features:
Measures gas composition in exhaled breath (e.g., CO2, O2, VOCs) for metabolic assessment.
Simple and intuitive design for easy data input and result interpretation.
Uses collected gas data to estimate cardiometabolic risk factors.
Graphs and charts displaying gas concentration trends and metabolic markers.
Secure storage and access to historical data for trend analysis.
Functionalities:
Captures breath data and compares it against health benchmarks.
Generates a risk score based on gas levels and other health metrics.
Provides detailed health reports with actionable insights.
Sends warnings for abnormal metabolic indicators.
Allows multiple profiles for family or clinical use.
How users interact with the system and achieve their goals: Users interact with the system by exhaling into the smart gas analyzer, receiving real-time metabolic risk analysis, personalized health recommendations, and progress tracking for cardiometabolic risk prevention.
User Experience (UX) Considerations: We designed the interface with a clean and intuitive layout to ensure easy navigation and data interpretation. The application features a dashboard-style design, allowing users to quickly view real-time gas analysis results

## Slide 20
Demonstration/Prototype Showcase
Option B -Physical Prototype Projects
Prototype Showcase:
Functionality Demonstration:
This prototype is a smart gas analyzer designed to detect cardiometabolic risk through non-invasive breath analysis. It utilizes advanced gas sensors to measure the concentration of specific biomarkers in exhaled breath, providing real-time health insights.
Key Features & Innovations:
Non-Invasive Detection: Breath analysis instead of blood tests.
AI-Driven Analysis: Machine learning for accurate gas detection.
Real-Time Health Insights: Instant results via a web interface.

## Slide 21
Demonstration/Prototype Showcase
General Considerations for Both Options:
Clarity and Simplicity: The prototype is designed to be user-friendly, providing clear and real-time health insights in a non-invasive manner using breath analysis.
Focus on Key Features: Utilizes gas sensors (CO2, NO2, VOCs) to detect metabolic biomarkers, AI model processes sensor data to predict cardiometabolic risks, Web interface displays easy-to-understand health insights, Calibration system ensures measurement accuracy.
Relevance to Project Goals: Supports early detection of metabolic risks such as obesity, diabetes, high blood sugar, and cholesterol, Enables preventive healthcare by alerting users to potential risks before symptoms become severe, Provides a cost-effective alternative to traditional invasive tests.
Technical Details (as needed): Gas sensors capture breath samples and measure biomarker levels, AI model is trained on metabolic disease data for real-time risk assessment, Results are displayed on the web interface, providing personalized insights.
Addressing Potential Questions: How accurate is the system?
What gases are detected?
How does this compare to traditional tests?

## Slide 22
Concept In Business
Sustainable Development Goals(SDG)
SDG 3 – Good Health and Well-being: Promotes early detection of chronic diseases like obesity, diabetes, and cardiovascular disease.Supports proactive health monitoring through non-invasive breath analysis.
SDG 9 – Industry, Innovation and Infrastructure:Integrates AI, sensor technology, and data analytics in healthcare.Encourages innovation in low-cost, scalable diagnostic tools.
SDG 12 – Responsible Consumption and Production:Reduces medical waste by replacing invasive methods (e.g., blood sampling). Minimizes resource use while maximizing healthcare outreach.
Social and Environmental Impact: Encourages preventive healthcare, reducing hospital admissions. Enables accessible diagnosis in rural and underprivileged areas.
Economic Feasibility:Reduces cost of chronic disease management.Suitable for scalable deployment in both home and clinical settings.

## Slide 23
Challenges Encountered & Solutions
Challenges:
Data Quality Issues: Inconsistent sensor readings due to environmental factors like temperature and humidity.
Model Overfitting: Initial AI models performed well on training data but struggled with real-world breath samples.
Performance Bottlenecks: Slow data processing due to large datasets and complex AI computations.
Solutions:
Improved Data Preprocessing: Applied filtering techniques to remove noise and normalize sensor readings.
Regularization Techniques: Used dropout and cross-validation to prevent overfitting and improve model generalization.
Optimized AI Algorithms: Implemented efficient data handling and model optimization techniques to speed up processing.
Lessons Learned:
Data quality is critical: Accurate and clean data is essential for reliable AI model performance.
Model tuning is an ongoing process: Continuous improvements and testing are necessary for better accuracy.
Optimization enhances efficiency: Refining algorithms and improving system architecture significantly boost performance.

## Slide 24
Advantages
Non-invasive Detection: No need for blood samples; uses exhaled breath for metabolic analysis.
Real-time Analysis: Provides instant results using advanced gas sensors.
AI Integration: Machine learning enables accurate prediction of cardiometabolic risks.
Portable and User-Friendly: Can be used in homes and clinics with ease.
Cost-Effective: Eliminates the cost and discomfort associated with traditional testing methods.
Promotes Preventive Healthcare: Enables early intervention and continuous monitoring.
Multi-user Capability: Allows multiple profiles for family or clinical use.
Data-Driven Insights: Visual dashboards offer detailed reports and historical trends.

## Slide 25
Limitations & Future Scope
Planned Enhancements:
Advanced AI Model Integration: Improve the machine learning model for more accurate gas concentration detection and risk assessment.
Mobile App Development: Extend functionality by creating a mobile app for real-time health monitoring.
Cloud-Based Data Storage: Implement a cloud solution to store and analyze long-term breath data for better insights.
Personalized Health Recommendations: Use AI to provide customized health advice based on breath analysis results.
Potential Research Directions:
AI-Driven Disease Prediction: Explore deep learning techniques to predict early signs of metabolic disorders
Correlation with Medical Data: Investigate links between breath biomarkers and clinical health records for improved diagnostics.
Wearable Sensor Technology: Develop compact, wearable breath analyzers for continuous health tracking.
Impact of Lifestyle on Breath Biomarkers: Study how diet, exercise, and environmental factors influence breath analysis results.

## Slide 26
Conclusion
The Smart Gas Analyzer project presents a novel, non-invasive, and cost-effective solution for early detection of cardiometabolic risks.
By integrating sensor technology and machine learning, the system offers real-time insights, enhancing preventive healthcare.
The prototype demonstrates strong alignment with sustainable development goals, particularly in healthcare accessibility and innovation.
With further enhancements and real-world testing, this system has the potential to revolutionize personal health monitoring and chronic disease prevention.

## Slide 27
YouTube Demonstration Video URL & Git Hub Link

## Slide 28
Publication Status(Mandatory)
Conference Details:
Conference Name: 2025 2nd International Conference on Computing and Data Science (ICCDS)
Conference Location: Chennai, India
Conference Dates: Start Date – 7/25/2025
Conference Website (Optional): https://www.rajalakshmi.org/iccds25/
Publication Status: Submitted
Paper Title: Prevention of Cardiometabolic Risk Using Smart Gas Analyzer
Authors: Dr.N.Gomathi, P Rekha shanmukhi, Settipalli Gopinadh, Poojari Neeraja
Status:
Submitted: "We have submitted our paper titled “Prevention of Cardiometabolic Risk Using Smart Gas Analyzer” to the 2025 2nd International Conference on Computing and Data Science (ICCDS) conference. The paper is currently under review.“
Significance:
Presenting our work at an IEEE international conference showcases the importance and innovation of using a smart gas analyzer for preventing cardiometabolic risks. It helps establish our research as a valuable contribution to the field of health technology. Additionally, presenting at the conference allows us to receive expert feedback, improve our approach, and connect with researchers and professionals for potential collaborations that can further enhance our study.

## Slide 29
Publication Status(Mandatory)
ATTACH CONFERENCE CERTIFICATE IF PRESENTATION DONE

## Slide 30
References(as per IEEE format only)
D. Germanese, M. Magrini, M. Righi, M. D’Acunto, and O. Salvetti, ”A low-cost technology-based device for breath analysis and self monitoring,” Institute of Information Science and Technology (ISTI CNR), Pisa, Italy and Institute of Matter Science (ISM CNR), Rome, Italy.
D. Musleh, A. Alkhwaja, I. Alkhwaja, M. Albugami, M. Alghamdi, F. Alfawaz, S. El Ashker, and H. Ab, ”Machine learning approaches for predicting risk of cardiometabolic disease among university students,” [Conference/Journal Name], vol. X, no. X, pp.
H. Singh and A. Bose, ”Deep learning applications in healthcare risk prediction,” IEEE Access, vol. 9, pp. 114530-114545, 2021.
M. Martinelli, A. Carella, A. d’Onofrio, and A. Lanata, ”Cardio metabolic risk modeling and assessment through sensor measurements,” IEEE Transactions on Biomedical Engineering, vol. 69, no. 4, pp. 789 801, 2022.
N. Sharma and A. Verma, ”Edge computing for real-time healthcare applications,” IEEE Transactions on Cloud Computing, vol. 10, no. 2, pp. 150-162, 2023.
Wang, Boyi, and Wei Zhang. "Research on edge network topology optimization based on machine learning." In 2023 5th International Conference on Applied Machine Learning (ICAML), pp. 41-46. IEEE, 2023.
Y. Yang, J. Zheng, Z. Du, Y. Li, and Y. Cai, ‘‘Accurate prediction of stroke for hypertensive patients based on medical big data and machine learning algorithms: Retrospective study,’’ JMIR Med. Informat., vol. 9, no. 11, Nov. 2021, Art. no. e30277.

## Slide 31
THANK YOU!